## Slide 1
Respiratoy activity
Peripheral arterial pulse
Heartbeat
Pupillary light reflex
Hypoxia
Cyanosis
Respiratory malfunction
Arterial blood pressure fall
Increase of heart rate
Defibrillation
CPR
Intramuscular injection of atropine, epinephrine
Acute chest pain
Trauma existance
Breath sounds asymmetry
Pneumothorax
Protocol “Pneumothorax”
Protocol “Chest Trauma”
Blood glucose level
Glucose administration
Insuline administration
ECG
Arrhythmia
Ischemia or infarct
Sudden right heart overload
Norm
Further investigations (EEG, clinical blood analysis and so on)
Protocol “Arrhythmia”
Protocols “Angina Attack” or “Myocardial Infarction”
Protocol «Treatment “PATE"”
Bubbling breathing, rising of cyanosis and hypoxia
Protocol
"Pulmonary Edema”
No
Yes
Yes
Yes
Yes
No
Decreased
Norma
Increased
No
No
Yes
Yes
Algorythm

## Slide 2
1. Verbal
2. Defibrillation
3. Automatic cardiopulmonary resuscitation
4. Puncture of intercostal space for closed pneumothorax emergency care
5. Earlobe electric stimulation
6. Medicamentous
Intramuscular injections
Oral spray
Sublingual drugs
Methods of influence on human organism

## Slide 3
Detectors
1. Transcutaneous blood gas analysis (on the earlobe):
hemoglobulin
bilirubin
glucose
Blood gas concentration.
2. Clinical blood analysis (invasive method, analyser is in the backpack)
Chemistry Panel
Formed elements
3. Videocamera for registering of scin coloration pupillary diameter, inequality of pupils and facial expression
4. EEG
5. ECG
6. Close-talking microphone
7. Trachea-sound microphone
8. Heart-sound microphone
9. Lower Lung lobes-sound microphones
10. Axillary temperature detectors (two pieces)
11. Accelerometers (4 pieces)
12. Blood pressure detector (finger clip sensor)
13. Photodetector, IR- and UV-detectors

## Slide 4
Pharmacological class | Drug | Mode of administration
Adrenergic agonists | Epinephrine | Hypodermic injection
Muscarinic antagonists | Atropine | Intramuscular injection
Glucocorticosteroids | Prednisolone | Intramuscular injection
Analgesics | Morphine | Intramuscular injection
Nonsteroidal antiinflammatory drugs | Ketorolac | Intramuscular injection
Bronchial spasmolytics | Salbutamol | Oral spray
Antiarrhythmics | Lidocaine, amiodarone | Intramuscular injection
Nitrates | Nitroglycerin | Oral spray
ACE inhibitors | Captopril | Intramuscular injection
Antiemetics | Metoclopramide | Intramuscular injection
Neuroleptics | Haloperidol | Intramuscular injection
Anxiolytics | Diazepam | Intramuscular injection
Anticoagulants | Heparin | Hypodermic injection
Hormones | Insulin | Hypodermic injection
Сarbohydrate delivery agent | Glucose | Solution per os
Diuretics | Furosemide | Intramuscular injection
Medicines